# Smart EMS & MIS — Step-by-Step Explanation

SUGNA SPONGE AND POWER PVT LTD
Backup package · Coding by Amazad Ali · Version 1.0

This Word file explains how the system works, which files are required, how to run it, and includes a ready AI prompt you can use to recreate or extend this code.

# 1. What this project is

Smart EMS & MIS is a plant monitoring system for Continuous Casting Machine (CCM) and Rolling Mill. It reads live data from a Siemens S7-1200 PLC (PAC3200 energy meter + billet/HMD counts), shows Live / EMS / MIS screens, saves heats and energy to a chosen folder, and exports Excel reports.

Classic HMI: http://localhost:5000/  (plc_live_monitor.html + plant_mis.js)

Pro UI: http://localhost:5000/pro/  (steel_ems_pro/)

Bridge API: bridge_server.py (Flask) polls PLC every 1 second and saves data

# 2. Files included in this backup (required)

## 2.1 Root / bridge

bridge_server.py — main server: PLC poll, CSV/JSONL log, APIs (/api/live, /api/energy, /api/bands, production heats, folder config)

pac3200_reader.py — Snap7 PLC tag map (DB4 energy + DB8 billets/HMD)

requirements.txt — Python packages (flask, flask-cors, python-snap7, openpyxl)

log_config.json — selected Plant_Data folder path

plc_live_monitor.html — Classic HMI

plant_mis.js — Classic MIS / heat logic

mes_dashboard.js — MES dashboard helpers

mes/ — SQLite MES package (auth, energy, production, reports)

## 2.2 Pro UI (steel_ems_pro/)

index.html — navigation (Plant, CCM, Rolling Mill, EMS, MIS, Smart Detector, Health)

assets/pro.js — casting timer, shared heat, EMS 24h energy, Smart Detector, folder chooser, Excel export

assets/pro.css — layout and report table styles

## 2.3 Data saved at runtime (not in this zip of code — created when bridge runs)

pac3200_log.csv — 1-second energy + HMD log

plant_live.jsonl — full live snapshots

ccm_heats.jsonl — CCM heat end records (casting time, strands, tons)

rm_heats.jsonl — Rolling Mill heat records

ems_readings.jsonl — EMS period / month energy readings

plant_mes.sqlite3 — MES database

# 3. How to install and run (step by step)

Install Python 3.10+ on the PC that will talk to the PLC.

Copy this whole backup folder to a working path, e.g. D:\Smart EMS and MIS Project

Open Command Prompt in that folder.

Create venv (optional): python -m venv .venv  then  .venv\Scripts\activate

Install packages: pip install -r requirements.txt

Edit pac3200_reader.py if PLC IP / DB offsets differ for your plant.

Start bridge FROM PROJECT ROOT (not from steel_ems_pro):  python bridge_server.py

Open browser: Classic http://localhost:5000/   Pro http://localhost:5000/pro/

In Pro → CCM Live or Health: choose Save folder (e.g. D:\Smart EMS and MIS Project\Plant_Data) → Save folder.

Keep bridge running — data auto-saves every 1 second to that folder.

Important: Always run bridge_server.py from the project root so /pro/ and APIs load correctly.

# 4. Feature explanation — CCM casting time

When casting is running, KPI shows Casting time (running clock) and auto-end countdown (~75 minutes).

When heat stops (manual End or auto 75 min), casting time + heat data are saved to ccm_heats.jsonl in the selected folder BEFORE the timer resets.

While stopped, KPI shows Next heat tentative (plant cycle ~2.3 hours from heat start), not the casting clock.

When next heat starts, casting running time resets to 00:00:00.

Heat number is shared with Rolling Mill via browser localStorage key steel_ems_shared_heat.

# 5. Feature explanation — Rolling Mill EMS energy

Window presets: Plant day (e.g. 09:00 → next day 09:00), previous plant day, last 24h, today, or custom From/To.

Calculate & save loads /api/energy (meter ΔkWh / ΔkVAh / ΔkVArh + calculated ∫kW/kVA/kVAr) and /api/bands (on-load/idle/stop).

Each calculation auto-saves into ems_readings.jsonl in the selected folder.

Month Excel downloads day-wise rows for the whole month with meter start/end/delta and calculated energy; each day is also auto-saved.

# 6. Feature explanation — data folder chooser

Pro UI (CCM Live and Health) and Classic HMI both use POST /api/log-config with { log_dir: "D\\...\\Plant_Data" }.

Bridge tests write access, saves path to log_config.json, and redirects all CSV/JSONL/SQLite writes there.

Export all (ZIP) uses /api/data/export.zip.

Browser cannot open a Windows folder dialog for the server disk — you type the path on the PC running the bridge.

# 7. Feature explanation — MIS report tables

Rolling Mill heats table is full width with larger sticky headers (Heat, Ended, R3, TMT, Miss, t, On-load, Idle, Util%, kWh/t) for clearer focus.

# 8. Main API list (bridge_server.py)

GET /api/live — latest PLC snapshot

GET /api/history?start&end — CSV rows

GET /api/energy?start&end — meter + calculated energy for a period

GET /api/energy/days?year&month&day_start_hour — day-wise 24h plant days

GET /api/energy/month.xls?year&month&day_start_hour — month Excel download

GET /api/bands?start&end&start_kw&onload_kw — on-load / idle / stop productivity

GET/POST /api/log-config — choose / read save folder

GET/POST /api/production/ccm_heats|rm_heats|ems_readings — save/load heats & EMS readings

GET /api/data/export.zip — backup all plant data files

# 9. Department navigation (Pro)

Plant home — company brand + overview

CCM — Live (cast), EMS, MIS

Rolling Mill — Live (mill timers/HMD), EMS kWh, MIS, Smart Detector

CPP / 100 DRI — Coming soon placeholders

Health & trust — PLC status + data folder chooser

# 10. AI PROMPT — copy this to rebuild or extend the code

Copy the block below into Cursor / ChatGPT when you want another agent to recreate or continue this product:

You are building / extending "Smart EMS & MIS" for SUGNA SPONGE AND POWER PVT LTD.

STACK
- Python Flask bridge_server.py on port 5000, run from project ROOT only.
- pac3200_reader.py (python-snap7) reads S7-1200 DB4 PAC3200 + DB8 billets/HMD every 1s.
- Classic HMI at / from plc_live_monitor.html + plant_mis.js (keep safe; do not break).
- Pro UI at /pro/ from steel_ems_pro/ (index.html, assets/pro.js, assets/pro.css) — additive only.
- Persist all plant data into a user-selected folder via GET/POST /api/log-config → log_config.json.
- Files in that folder: pac3200_log.csv, plant_live.jsonl, ccm_heats.jsonl, rm_heats.jsonl, ems_readings.jsonl, plant_mes.sqlite3.

CCM CASTING RULES
- While casting: show Casting time (running) + auto end ~75 min.
- On heat end (manual or auto): SAVE castSec + heat data to ccm_heats.jsonl BEFORE reset.
- When stopped: show Next heat tentative (cycle ~2.3 h from startedAt), not casting clock.
- On next heat start: reset casting timer; share heatNo with Rolling Mill via localStorage key steel_ems_shared_heat.

ROLLING MILL EMS
- Presets for 24h windows (plant day start hour default 9 → next day 9).
- Calculate meter ΔkWh/ΔkVAh/ΔkVArh + calculated ∫kW/kVA/kVAr; auto-save to ems_readings.jsonl.
- Month Excel: one row per plant day with window start/end, meter start/end/delta, calculated kWh/kVAh/kVArh.
- APIs: /api/energy, /api/energy/days, /api/energy/month.xls, /api/bands.

UI RULES
- Sidebar brand: only "Smart EMS & MIS".
- Departments accordion (CCM, Rolling Mill, CPP, 100 DRI) start minimized.
- CCM Live has NO mill on-load/idle/stop (those belong to Rolling Mill).
- MIS RM heats table full width with strong header focus.
- Pro data folder chooser on CCM Live + Health; top bar shows Save path.
- Bump ?v= cache on pro.js/pro.css/index.html after edits.

DELIVER
- Keep classic HMI working.
- Sync changes to delivery copy if present.
- Explain how to run: pip install -r requirements.txt && python bridge_server.py

# 11. Checklist after restore

pip install -r requirements.txt

python bridge_server.py from project root

Open /pro/ and hard refresh (Ctrl+F5)

Set Save folder and click Save folder

Confirm files appear in Plant_Data (CSV growing every second)

Test CCM Start/End heat → ccm_heats.jsonl grows

Test Rolling Mill EMS Calculate & save + Month Excel

# 12. Support notes

If /pro/ 404 or old UI: stop old bridge and restart from the folder that contains steel_ems_pro.

If PLC offline: UI still opens; live tags show offline until Snap7 connects.

Default MES users (if enabled): see MES_README.md (admin/admin123 etc.).

Coding by Amazad Ali · Version 1.0

— End of explanation —